## 标签
UAC 命令执行结果 : 命令执行成功 | Local HMI | LW_Bit | 895100 |  | 不指定
UAC 命令执行结果 : 错误命令 | Local HMI | LW_Bit | 895101 |  | 不指定
UAC 命令执行结果 : 账户已存在 | Local HMI | LW_Bit | 895102 |  | 不指定
UAC 命令执行结果 : 账户不存在 | Local HMI | LW_Bit | 895103 |  | 不指定
UAC 命令执行结果 : 密码错误 | Local HMI | LW_Bit | 895104 |  | 不指定
UAC 命令执行结果 : 当前命令无法被执行 | Local HMI | LW_Bit | 895105 |  | 不指定
UAC 命令执行结果 : 不合法的账户名称 | Local HMI | LW_Bit | 895106 |  | 不指定
UAC 命令执行结果 : 密码含有无效字符 | Local HMI | LW_Bit | 895107 |  | 不指定
UAC 命令执行结果 : 导入数据无效 | Local HMI | LW_Bit | 895108 |  | 不指定
UAC 命令执行结果 : 超出有效期限 | Local HMI | LW_Bit | 895109 |  | 不指定
UAC 权限 (类别 A ) | Local HMI | LW_Bit | 895300 |  | 不指定
UAC 权限 (类别 B ) | Local HMI | LW_Bit | 895301 |  | 不指定
UAC 权限 (类别 C ) | Local HMI | LW_Bit | 895302 |  | 不指定
UAC 权限 (类别 D ) | Local HMI | LW_Bit | 895303 |  | 不指定
UAC 权限 (类别 E ) | Local HMI | LW_Bit | 895304 |  | 不指定
UAC 权限 (类别 F ) | Local HMI | LW_Bit | 895305 |  | 不指定
UAC 权限 (类别 G ) | Local HMI | LW_Bit | 895306 |  | 不指定
UAC 权限 (类别 H ) | Local HMI | LW_Bit | 895307 |  | 不指定
UAC 权限 (类别 I ) | Local HMI | LW_Bit | 895308 |  | 不指定
UAC 权限 (类别 J ) | Local HMI | LW_Bit | 895309 |  | 不指定
UAC 权限 (类别 K ) | Local HMI | LW_Bit | 895310 |  | 不指定
UAC 权限 (类别 L ) | Local HMI | LW_Bit | 895311 |  | 不指定
UAC 命令 | Local HMI | LW | 8950 |  | 不指定
UAC 命令执行结果 | Local HMI | LW | 8951 |  | 不指定
UAC 用户索引 | Local HMI | LW | 8952 |  | 不指定
UAC 用户权限 | Local HMI | LW | 8953 |  | 不指定
UAC 用户名称 | Local HMI | LW | 8954 |  | 不指定
UAC 密码 | Local HMI | LW | 8962 |  | 不指定
SPREG_RUNTIME_L | MODBUS RTU (Zero-based Addressing) | 6x | 1070 | 累计运行时间秒L 32BIT | 16-bit Unsigned
SPREG_RUNTIME_H | MODBUS RTU (Zero-based Addressing) | 6x | 1071 | 累计运行时间秒H 32BIT | 16-bit Unsigned
SPREG_UART0_SEND_LENGTH | MODBUS RTU (Zero-based Addressing) | 6x | 1072 | UART0 发送数据长度 | 16-bit Unsigned
SPREG_UART0_SEND_NUM | MODBUS RTU (Zero-based Addressing) | 6x | 1073 | UART0 已经发送数据长度 | 16-bit Unsigned
SPREG_UART0_RECV_LENGTH | MODBUS RTU (Zero-based Addressing) | 6x | 1074 | UART0 接收数据长度 | 16-bit Unsigned
SPREG_UART0_RECV_NUM | MODBUS RTU (Zero-based Addressing) | 6x | 1075 | UART0 已经接收数据长度 | 16-bit Unsigned
SPREG_UART1_SEND_LENGTH | MODBUS RTU (Zero-based Addressing) | 6x | 1076 | UART1 发送数据长度 | 16-bit Unsigned
SPREG_UART1_SEND_NUM | MODBUS RTU (Zero-based Addressing) | 6x | 1077 | UART1 已经发送数据长度 | 16-bit Unsigned
SPREG_UART1_RECV_LENGTH | MODBUS RTU (Zero-based Addressing) | 6x | 1078 | UART1 接收数据长度 | 16-bit Unsigned
SPREG_UART1_RECV_NUM | MODBUS RTU (Zero-based Addressing) | 6x | 1079 | UART1 已经接收数据长度 | 16-bit Unsigned
SPREG_ADC_0 | MODBUS RTU (Zero-based Addressing) | 6x | 1080 | PD0 | 16-bit Unsigned
SPREG_ADC_1 | MODBUS RTU (Zero-based Addressing) | 6x | 1081 | PD1 | 16-bit Unsigned
SPREG_ADC_2 | MODBUS RTU (Zero-based Addressing) | 6x | 1082 | NTC0 | 16-bit Unsigned
SPREG_ADC_3 | MODBUS RTU (Zero-based Addressing) | 6x | 1083 | NTC1 | 16-bit Unsigned
SPREG_ADC_4 | MODBUS RTU (Zero-based Addressing) | 6x | 1084 | ISMON0 | 16-bit Unsigned
SPREG_ADC_5 | MODBUS RTU (Zero-based Addressing) | 6x | 1085 | IVINMON0 | 16-bit Unsigned
SPREG_ADC_6 | MODBUS RTU (Zero-based Addressing) | 6x | 1086 | ISMON1 | 16-bit Unsigned
SPREG_ADC_7 | MODBUS RTU (Zero-based Addressing) | 6x | 1087 | IVINMON1 | 16-bit Unsigned
SPREG_ADC_8 | MODBUS RTU (Zero-based Addressing) | 6x | 1088 | Temperature Sensor | 16-bit Unsigned
SPREG_DAC_0 | MODBUS RTU (Zero-based Addressing) | 6x | 1089 | LSET0 | 16-bit Unsigned
SPREG_DAC_1 | MODBUS RTU (Zero-based Addressing) | 6x | 1090 | LSET1 | 16-bit Unsigned
SPREG_SPWM_POS_0 | MODBUS RTU (Zero-based Addressing) | 6x | 1091 | 软件PWM0正脉宽设置 | 16-bit Unsigned
SPREG_SPWM_POS_SHADOW_0 | MODBUS RTU (Zero-based Addressing) | 6x | 1092 | 软件PWM0正脉宽阴影 | 16-bit Unsigned
SPREG_SPWM_CYCLE_0 | MODBUS RTU (Zero-based Addressing) | 6x | 1093 | 软件PWM0周期设置 | 16-bit Unsigned
SPREG_SPWM_CYCLE_SHADOW_0 | MODBUS RTU (Zero-based Addressing) | 6x | 1094 | 软件PWM0周期阴影 | 16-bit Unsigned
SPREG_SPWM_COUNTER_0 | MODBUS RTU (Zero-based Addressing) | 6x | 1095 | 软件PWM0计数器 | 16-bit Unsigned
SPREG_SPWM_POS_1 | MODBUS RTU (Zero-based Addressing) | 6x | 1096 | 软件PWM1正脉宽设置 | 16-bit Unsigned
SPREG_SPWM_POS_SHADOW_1 | MODBUS RTU (Zero-based Addressing) | 6x | 1097 | 软件PWM1正脉宽阴影 | 16-bit Unsigned
SPREG_SPWM_CYCLE_1 | MODBUS RTU (Zero-based Addressing) | 6x | 1098 | 软件PWM1周期设置 | 16-bit Unsigned
SPREG_SPWM_CYCLE_SHADOW_1 | MODBUS RTU (Zero-based Addressing) | 6x | 1099 | 软件PWM1周期阴影 | 16-bit Unsigned
SPREG_SPWM_COUNTER_1 | MODBUS RTU (Zero-based Addressing) | 6x | 1100 | 软件PWM1计数器 | 16-bit Unsigned
SPREG_SPWM_POS_2 | MODBUS RTU (Zero-based Addressing) | 6x | 1101 | 软件PWM2正脉宽设置 | 16-bit Unsigned
SPREG_SPWM_POS_SHADOW_2 | MODBUS RTU (Zero-based Addressing) | 6x | 1102 | 软件PWM2正脉宽阴影 | 16-bit Unsigned
SPREG_SPWM_CYCLE_2 | MODBUS RTU (Zero-based Addressing) | 6x | 1103 | 软件PWM2周期设置 | 16-bit Unsigned
SPREG_SPWM_CYCLE_SHADOW_2 | MODBUS RTU (Zero-based Addressing) | 6x | 1104 | 软件PWM2周期阴影 | 16-bit Unsigned
SPREG_SPWM_COUNTER_2 | MODBUS RTU (Zero-based Addressing) | 6x | 1105 | 软件PWM2计数器 | 16-bit Unsigned
SPREG_SPWM_POS_3 | MODBUS RTU (Zero-based Addressing) | 6x | 1106 | 软件PWM3正脉宽设置 | 16-bit Unsigned
SPREG_SPWM_POS_SHADOW_3 | MODBUS RTU (Zero-based Addressing) | 6x | 1107 | 软件PWM3正脉宽阴影 | 16-bit Unsigned
SPREG_SPWM_CYCLE_3 | MODBUS RTU (Zero-based Addressing) | 6x | 1108 | 软件PWM3周期设置 | 16-bit Unsigned
SPREG_SPWM_CYCLE_SHADOW_3 | MODBUS RTU (Zero-based Addressing) | 6x | 1109 | 软件PWM3周期阴影 | 16-bit Unsigned
SPREG_SPWM_COUNTER_3 | MODBUS RTU (Zero-based Addressing) | 6x | 1110 | 软件PWM3计数器 | 16-bit Unsigned
SPREG_AIM0_BRIGHTNESS | MODBUS RTU (Zero-based Addressing) | 6x | 1111 | 指示光0亮度 | 16-bit Unsigned
SPREG_AIM1_BRIGHTNESS | MODBUS RTU (Zero-based Addressing) | 6x | 1112 | 指示光1亮度 | 16-bit Unsigned
SPREG_IDENTITY | MODBUS RTU (Zero-based Addressing) | 6x | 1113 | 平台ID号 | 16-bit Unsigned
SPREG_CLEAR_NVRAM0 | MODBUS RTU (Zero-based Addressing) | 6x | 1114 | 清除NVRAM后重新启动 | 16-bit Unsigned
SPREG_LASER_MODE | MODBUS RTU (Zero-based Addressing) | 6x | 1115 | 激光发射模式 | 16-bit Unsigned
SPREG_LASER_SELECT | MODBUS RTU (Zero-based Addressing) | 6x | 1116 | 激光通道选择 | 16-bit Unsigned
SPREG_LASER_TCOUNTER | MODBUS RTU (Zero-based Addressing) | 6x | 1117 | 激光脉冲计时器计数值 | 16-bit Unsigned
SPREG_LASER_TMATE | MODBUS RTU (Zero-based Addressing) | 6x | 1118 | 激光脉冲计时器器匹配值 | 16-bit Unsigned
SPREG_LASER_TOVERTIME | MODBUS RTU (Zero-based Addressing) | 6x | 1119 | 激光脉冲计时器溢出值 | 16-bit Unsigned
SPREG_LASER_PCOUNTER | MODBUS RTU (Zero-based Addressing) | 6x | 1120 | 激光脉冲个数计数值 | 16-bit Unsigned
SPREG_LASER_PMATE | MODBUS RTU (Zero-based Addressing) | 6x | 1121 | 激光脉冲个数匹配值 | 16-bit Unsigned
SPREG_LASER_POVERTIME | MODBUS RTU (Zero-based Addressing) | 6x | 1122 | 激光脉冲间隔计时值 | 16-bit Unsigned
SPREG_LASER_RELEASETIME | MODBUS RTU (Zero-based Addressing) | 6x | 1123 | 激光持续时间 | 16-bit Unsigned
SPREG_LASER_RELEASE_COUNTER | MODBUS RTU (Zero-based Addressing) | 6x | 1124 | 激光持续时间计时器 | 16-bit Unsigned
SPREG_LASER_CURRENT_980 | MODBUS RTU (Zero-based Addressing) | 6x | 1125 | 激光电流980 | 16-bit Unsigned
SPREG_LASER_CURRENT_1470 | MODBUS RTU (Zero-based Addressing) | 6x | 1126 | 激光电流1470 | 16-bit Unsigned
SPREG_BEEM_VOLUME | MODBUS RTU (Zero-based Addressing) | 6x | 1127 | 蜂鸣器音量 | 16-bit Unsigned
SPREG_BEEM_MODE | MODBUS RTU (Zero-based Addressing) | 6x | 1128 | 蜂鸣器模式 | 16-bit Unsigned
SPREG_BEEM_COUNTER | MODBUS RTU (Zero-based Addressing) | 6x | 1129 | 蜂鸣器计时器 | 16-bit Unsigned
SPCOIL_ON | MODBUS RTU (Zero-based Addressing) | 0x | 18160 | 长通线圈 | 不指定
SPCOIL_START_UP | MODBUS RTU (Zero-based Addressing) | 0x | 18161 | 初次上电 | 不指定
SPCOIL_PS1MS | MODBUS RTU (Zero-based Addressing) | 0x | 18162 | 1mS间隔 50%占空比脉冲 | 不指定
SPCOIL_PS10MS | MODBUS RTU (Zero-based Addressing) | 0x | 18163 | 10mS | 不指定
SPCOIL_PS100MS | MODBUS RTU (Zero-based Addressing) | 0x | 18164 | 100mS
SPCOIL_PS1000MS | MODBUS RTU (Zero-based Addressing) | 0x | 18165 | 1000mS
SPCOIL_MODBUS_S0_ERROR | MODBUS RTU (Zero-based Addressing) | 0x | 18166 | Modbus Slave->Uart0 错误 | 不指定
SPCOIL_NVRAM_FAIL | MODBUS RTU (Zero-based Addressing) | 0x | 18167 | NVRAM校验码错误 | 不指定
SPCOIL_WATCHDOG_OVERFLOW | MODBUS RTU (Zero-based Addressing) | 0x | 18168 | 看门狗溢出 | 不指定
SPCOIL_UART0_SEND_BUSY | MODBUS RTU (Zero-based Addressing) | 0x | 18169 | UART1发送忙 | 不指定
SPCOIL_UART0_RECV_BUSY | MODBUS RTU (Zero-based Addressing) | 0x | 18170 | UART1接收忙 | 不指定
SPCOIL_UART0_SEND_DONE | MODBUS RTU (Zero-based Addressing) | 0x | 18171 | 发送完成 | 不指定
SPCOIL_UART0_RECV_DONE | MODBUS RTU (Zero-based Addressing) | 0x | 18172 | 接收完成 | 不指定
SPCOIL_UART1_SEND_BUSY | MODBUS RTU (Zero-based Addressing) | 0x | 18173 | UART1发送忙 | 不指定
SPCOIL_UART1_RECV_BUSY | MODBUS RTU (Zero-based Addressing) | 0x | 18174 | UART1接收忙 | 不指定
SPCOIL_UART1_SEND_DONE | MODBUS RTU (Zero-based Addressing) | 0x | 18175 | 发送完成 | 不指定
SPCOIL_UART1_RECV_DONE | MODBUS RTU (Zero-based Addressing) | 0x | 18176 | 接收完成 | 不指定
SPCOIL_USB_INT_ERROR | MODBUS RTU (Zero-based Addressing) | 0x | 18177 | USB 底层中断返回错误 | 不指定
SPCOIL_USBHOST_CONNECT_REQ | MODBUS RTU (Zero-based Addressing) | 0x | 18178 | USBHOST连接请求 | 不指定
SPCOIL_USBDISK_CONNECT_DOING | MODBUS RTU (Zero-based Addressing) | 0x | 18179 | USBHOST连接进行中 | 不指定
SPCOIL_USBDISK_CONNECT_DONE | MODBUS RTU (Zero-based Addressing) | 0x | 18180 | USBHOST连接完成 | 不指定
SPCOIL_USBDISK_MOUNT_REQ | MODBUS RTU (Zero-based Addressing) | 0x | 18181 | USBDISK载入请求 | 不指定
SPCOIL_USBDISK_MOUNT_DOING | MODBUS RTU (Zero-based Addressing) | 0x | 18182 | USBDISK装载进行中 | 不指定
SPCOIL_USBDISK_MOUNT_DONE | MODBUS RTU (Zero-based Addressing) | 0x | 18183 | USBDISK装载完成 | 不指定
SPCOIL_USBDISK_REMOVE_REQ | MODBUS RTU (Zero-based Addressing) | 0x | 18184 | USBHOST移除请求 | 不指定
SPCOIL_USBDISK_REMOVE_DOING | MODBUS RTU (Zero-based Addressing) | 0x | 18185 | USBHOST移除进行中 | 不指定
SPCOIL_USBDISK_REMOVE_DONE | MODBUS RTU (Zero-based Addressing) | 0x | 18186 | USBHOST移除完成 | 不指定
SPCOIL_USBDISK_READING | MODBUS RTU (Zero-based Addressing) | 0x | 18187 | USBDISK读取进行中 | 不指定
SPCOIL_USBDISK_OPEN_FILE_FAIL | MODBUS RTU (Zero-based Addressing) | 0x | 18188 | USBDISK打开文件失败 | 不指定
SPCOIL_USBDISK_READ_FILE_FAIL | MODBUS RTU (Zero-based Addressing) | 0x | 18189 | USBDISK读取文件失败 | 不指定
SPCOIL_USBDISK_WRITE_FILE_FAIL | MODBUS RTU (Zero-based Addressing) | 0x | 18190 | USBDISK写入文件失败 | 不指定
SPCOIL_USBDISK_CLOSE_FILE_FAIL | MODBUS RTU (Zero-based Addressing) | 0x | 18191 | USBDISK关闭文件失败 | 不指定
SPCOIL_SIMEPROM_READ_FAIL | MODBUS RTU (Zero-based Addressing) | 0x | 18192 | SIMEPROM读取失败 | 不指定
SPCOIL_SIMEPROM_WRITE_FAIL | MODBUS RTU (Zero-based Addressing) | 0x | 18193 | SIMEPROM写入失败 | 不指定
SPCOIL_SPWM_OUT_0 | MODBUS RTU (Zero-based Addressing) | 0x | 18194 | SPWM0输出状态 | 不指定
SPCOIL_SPWM_RESET_0 | MODBUS RTU (Zero-based Addressing) | 0x | 18195 | SPWM0复位 | 不指定
SPCOIL_SPWM_OUT_1 | MODBUS RTU (Zero-based Addressing) | 0x | 18196 | SPWM1输出状态 | 不指定
SPCOIL_SPWM_RESET_1 | MODBUS RTU (Zero-based Addressing) | 0x | 18197 | SPWM1复位 | 不指定
SPCOIL_SPWM_OUT_2 | MODBUS RTU (Zero-based Addressing) | 0x | 18198 | SPWM2输出状态 | 不指定
SPCOIL_SPWM_RESET_2 | MODBUS RTU (Zero-based Addressing) | 0x | 18199 | SPWM2复位 | 不指定
SPCOIL_SPWM_OUT_3 | MODBUS RTU (Zero-based Addressing) | 0x | 18200 | SPWM3输出状态 | 不指定
SPCOIL_SPWM_RESET_3 | MODBUS RTU (Zero-based Addressing) | 0x | 18201 | SPWM3复位 | 不指定
SPCOIL_LASER_EMITING | MODBUS RTU (Zero-based Addressing) | 0x | 18202 | 激光发射中 | 不指定
SPCOIL_LASER_EMITOVER | MODBUS RTU (Zero-based Addressing) | 0x | 18203 | 激光发射结束 | 不指定
SPCOIL_AIM0_ENABLE | MODBUS RTU (Zero-based Addressing) | 0x | 18204 | 激光指示光0使能 | 不指定
SPCOIL_AIM1_ENABLE | MODBUS RTU (Zero-based Addressing) | 0x | 18205 | 激光指示光1使能 | 不指定
SPCOIL_BEEM_ENABLE | MODBUS RTU (Zero-based Addressing) | 0x | 18206 | 蜂鸣器发射使能 | 不指定
Y_LED_POWERON | MODBUS RTU (Zero-based Addressing) | 0x | 17056 | 电源灯 | 不指定
Y_LED_EMIT | MODBUS RTU (Zero-based Addressing) | 0x | 17057 | 激光指示灯 | 不指定
Y_LED_ALARM | MODBUS RTU (Zero-based Addressing) | 0x | 17058 | 故障指示灯 | 不指定
Y_OUT4 | MODBUS RTU (Zero-based Addressing) | 0x | 17059 |  | 不指定
Y_OUT5 | MODBUS RTU (Zero-based Addressing) | 0x | 17060 |  | 不指定
Y_OUT6 | MODBUS RTU (Zero-based Addressing) | 0x | 17061 |  | 不指定
Y_OUT7 | MODBUS RTU (Zero-based Addressing) | 0x | 17062 |  | 不指定
Y_FAN0 | MODBUS RTU (Zero-based Addressing) | 0x | 17063 | 风扇开关0 | 不指定
Y_FAN1 | MODBUS RTU (Zero-based Addressing) | 0x | 17064 | 风扇开关1 | 不指定
Y_TEC0 | MODBUS RTU (Zero-based Addressing) | 0x | 17065 | 制冷开关0 | 不指定
Y_TEC1 | MODBUS RTU (Zero-based Addressing) | 0x | 17066 | 制冷开关1 | 不指定
Y_LED_RUN | MODBUS RTU (Zero-based Addressing) | 0x | 17067 |  | 不指定
Y_LED_ERROR | MODBUS RTU (Zero-based Addressing) | 0x | 17068 |  | 不指定
Y_LED_FLASH | MODBUS RTU (Zero-based Addressing) | 0x | 17069 |  | 不指定
X_INTERLOCK | MODBUS RTU (Zero-based Addressing) | 0x | 16692 |  | 不指定
X_ESTOP | MODBUS RTU (Zero-based Addressing) | 0x | 16693 |  | 不指定
X_FOOTSWITCH_OC | MODBUS RTU (Zero-based Addressing) | 0x | 16694 |  | 不指定
X_FOOTSWITCH_ON | MODBUS RTU (Zero-based Addressing) | 0x | 16695 |  | 不指定
X_LDR_FAULT0 | MODBUS RTU (Zero-based Addressing) | 0x | 16696 |  | 不指定
X_LDR_FAULT1 | MODBUS RTU (Zero-based Addressing) | 0x | 16697 |  | 不指定
X_FBD0 | MODBUS RTU (Zero-based Addressing) | 0x | 16698 |  | 不指定
X_FBD1 | MODBUS RTU (Zero-based Addressing) | 0x | 16699 |  | 不指定